Hey James, 

I went to the permit office Tuesday and Wednesday. On the tree permit dwg I had to show them were the 30offset was on the property and what trees remained there. You cannot remove any tress in the buffer areas. You have to call them before you go clearing the land so they can come inspect it and put out a sign. Also the environmental department made me come back to Slidell to talk to there sewer & water people (Cross gates utilities) before the main office would sign of on it. Also I had to add some notes that they wanted. The Engineering department Okayed it but we have to remove some land behind the store due to the fact that we are bringing more fill on the flood zone side of the store. Also the dumpster pad is lower. I have revised the plans to reflect that. I have PDF all the dwgs. 

