1st Floor

2nd Floor

5”  Concrete 



40 psf

Steel Bars in concrete


 2 psf

Pan-decking



 2 psf

Bar Joist





HVAC for Restaurant below



Lighting for Restaurant

Any Dead Loads 2nd floor

80 psf

Live Loads 2nd floor


100 psf 
2,000 concentrated

