DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

November 6, 2007

Fire District No 1

St. Tammany Parish

1358 Corporate Square

Slidell, La. 

Attn: Neil Rica

REF: North Lake Marine

         Slidell, La.   

Dear Sir,

A separation was needed from the shop area to the sales area. This was accomplished using a 2-hour firewall WP1522. The contractor installed it per the details for that particular rating. Please call me with any questions you may have.

Contractor : Danny Brown___________________

Chuck Dammon 

Dammon Engineering

