Superintendent Meeting

Monday, September 17, 2007

Met with job super this AM to introduce myself and find out if they have any questions.

Name:  Tommy Raymond

Cell Phone: 504-430-3094

Had the following questions:

· Problem with using the present ceiling grid.  Specific problems are, 

· Grid in one area must be removed to permit removing of old A/C units.

· Grid spaces do not center properly to place ceiling lights, i. e. hallway

· Ask Tommy for estimate to remove and replace same grid

· I asked Tommy for an estimate to remove and install new grid correctly

· Need to confirm if refrigerator will have an icemaker, and exact location of refrigerator so water line can be run correctly.

· There will be a problem if cabinets remain in hall office of the assistant administrator.  By hanging over the floor it prohibits placing a desk and chairs in that floor space.  Will attempt to relocate them in area planned for the copy machine in secretarial area so floor space can more efficiently used. Mr. Butler is agreeable to relocate, but does not want to lose the storage space.

Results:

· Mr. Butler wants us to leave the cabinets that are in the Computer/electrical room.

· Tommy wanted our input on how to trim out the walls that are furred our as opposed to walls that have sheetrock applied directly to the studs.  I told him to trim out as necessary and not make changes to walls that do no have the metal fir strips.

· Went to HA and was able to talk with Mr. Butler and Jason regarding shelving, and refrigerator location.

· They want the refrigerator located in same place as previous, which is on the wall adjacent to the A/C room, with a waterline for an icemaker.

· They are agreeable to moving upper cabinets in office only if we can find another location for them.

