(put the following statement on A4)

Contractor will furnish carpet, vinyl tile, ceramic tile in areas designed

Ted on the (Schedule of room finishes)

Make the following changes to %-1

Remove window A/C unit

Remove electric circuit to A/C unit on panel  MDP circuit #13.

Label 13 and change 15 to “SPACE”

Delete  “Load” 1600v

Change number in lower left column from 29300 to 27700

