General Notes to Contractor

Exterior:

Repair or replace all soffit and facia.  Facia shall be perforated vinyl and soffit shall be aluminum with white baked on enamel.

Clean and repaint all exposed surfaces on exterior.

Remove existing shingles and felt paper from entire roof.  Install new 15 lb felt, and 30-year architectural shingle, color to be selected by owner.

Remove ridge vent and replace with new vent.

Remove drip edge and replace with new

Strip all parking spaces in the administration building parking area.

Designate handicap-parking areas with new signs.

Contractor may submit an alternate bid for metal roof along with bid for architectural shingle.

Interior:

Install a 1.5 cu ft refrigerator under counter (note drawing). Rm 104

Install small single bar sink with gooseneck faucet in cabinet.  Rm 104

Install new kitchen cabinets (Singer or equivalent) See drawing.  Install double sink and faucet in kitchen cabinet.

Install 50 gallon electric hot water heater in room 109

Change plumbing connections as shown on plumbing drawing.

Remove all gas lines in building back to exterior wall.  Cap.

