HOUSING AUTHORITY OF SLIDELL

Contractors notes

INTERIOR

Kitchen sink 

Upper and lower kitchen cabinets, Singer or comperable

Fixture for sink

Plumb hot/cold water connection for water heater in room 109

Plumb hot/cold water connection for sink in room 104

Wall mount handicap accessible drinking fountain on hall wall adjacent to room 120

Install 50-gallon electric water heater in room 109

Pull down screen for community room

Change plumbing connections to connect hot water lines to water heater

Heating elements in A/C to be two stage 15,000KW each

Carpet specified throughout building to be commercial grade carpet

PA system with wireless mikes (2) for community room

Remove all gas lines back to exterior of building.  cap line

Paint interior sheetrock two coats.  Color selected by owner

EXTERIOR

Remove all gas lines back to exterior of building.  cap line

Remove existing roof shingles and rolled roofing.

Remove old roof vents.

Remove old ridge vent

Install new ridge vent 

Install new roof vents

Install new  15-20 lb roll roofing.

Install 30 year architectural  shingle, color to be selected by owner  

Paint exterior wood work, color selected by owner

