DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

July 26, 2007

St. Tammany Parish

Department of Engineering

P.O. Box 628

Covington, La. 70434

Attention: Paul Carroll

RE: Drainage Plan for New Paint Shop on Lindberg Drive

This property is located in flood zone “C”. The existing drainage currently drains to the east in the rear of the site and into an existing drainage ditch that flows south to an existing detention pond. All conditions were accounted for.  There is currently no off site sheet flow on this property. There are no adverse impacts due to the new structure being built on this site. The existing site paving is limestone and will remain as such.

With all said we are asking for a wavier for this project.

Thank you, Please call me with any questions you may have.

Emmett Dammon 

Dammon Engineering

