Summary Report for Roof damage at MECO Building # 3 Port Of New Orleans

MECO Bldg 3 is a metal-framed structure located on the Industrial Canal side of New Orleans LA at the Port of New Orleans. The facility has metal wall panels and an R-panel type of roof system. The roof has an area of approximately 1428 SF. The initial investigation reveled that there was damage to the panels on the east rake at the ridge toward the center of the building and at the south eve. There are holes in the roof where there appears to have been vent pipes at one time. The panels appear to have lifted and the roof is a total loss. The profile of this type roof panel is no longer available.

A subsequent investigation reveled that there has been temporary repairs in the form of metal panels covering holes and new panels at the rake on the east end. The damaged panels at the ridge have not been repaired and there remain holes in the roof.

