DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

April 12, 2010

To: 
City of New Orleans


Inspection Department


1300 Perdido St.


N.O.L.A.

REF: New Canopy’s


2035 Gentilly Road


N.O.L.A.


Steve Allen


General Maintenance


2516Connecticut Ave


Kenner, La. 70062

To whom it may concern:

Due to the size of the footings some utilities run through the footings, also the #3 rebar is used in lieu of  #5 stirrups to hold the mats in place. 

Sincerely,

Emmett G. Dammon P.E.

