COMMERCIAL CHECKLIST

This checklist is merely a preliminary review of the proposed site plan received by our office.  Please understand that our review is limited and shall not constitute approval development or specific plan layout until all components of this checklist are approved by the Planning Department.  Items that are highlighted are items that need to be corrected.
       FILE NAME:  Green State Farm Retail Complex

      APPLICANT:  Dammon Engineering, Inc. (Chuck Dammon)

           DEVELOPMENT 

                   LOCATION:  383 Gause Boulevard West

                              DATE:  June 7, 2010

                   REVIEWER:  Nancy Durham, CFM

     ZONING DISTRICT:  C-2 Neighborhood Commercial

          PROPOSED USE:  Office/Retail

            PREVIOUS USE 

            OF PROPERTY:  Vacant

GROSS FLOOR AREA:  7,800 sq. ft.

I.
ARCHITECTURAL FEATURES:  All elevations of all buildings in all commercially zoned districts must have an exterior façade surface material of brick, stone, architectural block, stucco, glass, wood, fiber-cement siding and/or vinyl siding, or any approved combination thereof.  Vinyl siding is permitted for no more than 25% on the total exterior walls.  The architectural surface material must also be included on all building elevations whether facing a street or interior lot line.  Architectural metal panel systems must be approved by the Planning Department.  Standard metal building panels are not permitted.  (Z.O. Sec. 2.2216)

COMMENTS:  Front=Stone & Stucco – O.K. and approved. Sides=Stone, Stucco & Architectural Metal Wall Panels; Rear=Architectural Metal Wall Panels – Architectural Metal Wall Panels are required to be approved by Planning.  Please submit details, pictures, and/or sample for review.  O.K. and approved per Randy Clement.

II.
BUFFER ZONE REVIEW: 

A.
Buffer zone required – The Zoning Ordinance requires that a buffer zone be established between differing land uses as follows:  (Z.O. Sec. 2.2209)







LDR
HDR
C
LI
HI

LOW DENSITY RESIDENTIAL (LDR)

   X
X
X
X

HIGH DENSITY RESIDENTIAL (HDR)


X
X
X

COMMERCIAL (C)






X
X

LIGHT INDUSTRIAL (LI)






X

HEAVY INDUSTRIAL (HI)


X – Buffer Zone Required

       LDR – Single Family Detached Dwelling

       HDR – Attached Dwellings

            COMMENTS:  A buffer zone is required along the rear (South) and right (West) side of the property.  Please show buffer zone on the landscape plan.  (C-1(a)) O.K. and approved.

NOTE: IF SUBDIVIDED, BURDEN OF BUFFER FENCE FALLS ON THE COMMERCIAL DEVELOPER. 


B.
Buffer fence – An opaque fence at least six feet in height above the highest point of ground elevation must be located on the property line between the two abutting land uses.  (Z.O. Sec. 2.2210)

1.
The fence must be installed prior to issuance of a building permit.

2.
In situations where fill is placed on a development site, the required fence height shall be computed as follows:






Fence height = (six ft.) + (final grade of site requiring fill – grade of property to be buffered).


COMMENTS:  Please show the buffer fence along the rear (South) and right (West) side of the property with fence details and height on the landscape plan.  (C-1(a)) 6’ above highest ground elevation – O.K. and approved.

C.
Ten foot buffer area established – A ten foot landscaped area is required between the abutting land uses.  Trees must be located in the ten-foot area with a 20-25 foot on center spacing (maximum).  (Z.O. Sec. 2.2211)

COMMENTS:  Please show the buffer landscaping along the rear (South) [= 6-8 trees] and right (West) side [= 10-12 trees] of the property on the landscape plan.  There are 8 trees shown on the South side of the property – O.K. and approved.  Please show the buffer landscaping along the right (West) side [= 10-12 trees] of the property on the landscape plan.  (C-1(a)) West side = 12 trees – O.K. and approved.

III.
LAND CLEARING REVIEW:  In order to preserve existing trees on development sites, the Zoning Ordinance requires that a land clearing permit be approved prior to receiving a building permit.  Canopies of protected trees that overhang the property lines of the lot to be developed must be brought to our attention.  The City will give consideration to the following site conditions in its review of land clearing permit applications. (Z.O. Sec. 2.2502)
A. Land Clearing or Protected Tree Removal Permit Required – Application Requirements.  Application for a land-clearing permit shall include the following items:  (Z.O. Sec. 2.2503 (1-2(a-d)))
1.
A plot plan of the proposed development.

2.
A landscape plan (tree survey on proposed site plan), which identifies:

a.
Existing stands of trees on the development site.

b.
The specific location of live oak and magnolia trees twelve (12) inches in diameter and all other trees fifteen (15) inches in diameter as measured twenty-four (24) inches above grade.

c.
Trees or stands of trees proposed for retention on the site.

d.
The intended method for marking reserved trees prior to land clearing shall be identified in the application.  The preferred method of marking is stapling all weather plastic tape to trees.  The use of spray paint for this purpose is specifically prohibited.

NOTE:  The Planning Department has ten (10) days to review this application and conduct a site visit.

COMMENTS:  Please submit land-clearing permit application with tree survey on site plan for review and approval.  If the land is already cleared, a land-clearing application will still need to be submitted stating that the land is already cleared.  Received on May 28, 2010 – in review.  O.K. and approved per Randy Clement on June 3, 2010.

B. Pre-Clearing Inspection Required – The party issued a land-clearing permit shall notify the building official in writing twenty-four (24) hours before starting the land clearing activity. The building official or his designated representative shall inspect the clearing site prior to the start of clearing to assure that the protected trees are identified on site as indicated in the land clearing permit application.  (Z.O. Sec. 2.2505)
COMMENTS:  Please contact the Planning Department for a land clearing

inspection once all the trees are marked for removal.  Received on May 28, 2010 – in review.  O.K. and approved per Randy Clement on June 3, 2010.

C. Techniques for Protection of Trees – The following shall be utilized to retain existing trees:  (Z.O. Sec. 2.2506(1-5))
1.
Parking areas and building sites shall be located to preserve existing trees.

2.
Grates or other pervious surfaces shall be utilized within the drip line (outermost limit of horizontal branch extension) of existing trees to allow water and air to reach the tree roots.

3.
Fill shall be prohibited in areas under the drip line of existing trees.

4.
Drastic changes in drainage patterns, which might negatively affect existing trees shall be avoided.

5.
All trees to be retained shall have a perimeter fencing at the extreme outer edge of the tree canopy.  The fencing shall be flagged with yellow caution tape or yellow pennants, and shall remain in place throughout the construction period.  There shall be no activity of any kind inside the perimeter other than hand brush clearing.  No land clearing or building permits shall be issued until the perimeter of all protected trees and tree stands have been properly fenced.

COMMENTS:  Please submit a detailed tree protection plan as outlined above. 

Please schedule a tree site inspection once existing trees are protected.  Received on May 28, 2010 – in review.  O.K. and approved per Randy Clement on June 3, 2010.

D.
Other Notes:

1.
Parcel Size – The ability of a developer to design a site plan that accommodates existing trees is dependent on the size of the parcel in question.  It is much more difficult, for example, to incorporate a specimen tree into a site plan on a 50 ft. by 120 ft. lot than a one acre parcel.

2.
Condition of Existing Trees – Efforts must be undertaken by the developer to minimize the impact of construction activities on trees intended for retention.  However, in all probability, the trees will undergo some stress from related construction.  If the trees are in poor condition prior to start of construction, even minimal additional stress could kill them.  Consequently, such trees are poor candidates for retention.

3.
Growth Conditions – From a road, a densely vegetated parcel appears to be an excellent candidate site for tree retention efforts.  A close examination of such sites often produces a different conclusion.  Trees that have grown along the perimeter of the tree line often are vegetated only on one side.  Trees that have grown in the interior of the site may be only vegetated at the very top of the tree.  This is particularly true of pine trees.  Consequently, in such circumstances, it is not advisable to leave individual trees.  Instead, clusters of trees should be retained.

4.
Types of Trees – Certain species of trees are more desirable than others.  Oaks, magnolias, pecans, hollies, and other hardwoods are more desirable for retention.

5.
Elevation and Drainage Changes – The life system of a tree can be critically affected by placing fill or any impervious surface over its root system.  Likewise, any excavation from the feeder root system to the trunk of the tree will also critically affect it.  However, through proper retention methods such trees can be effectively retained on a given site. (See City’s procedure on “Standards for Tree Retention”)  Amount of fill to be placed on the property will greatly depend on the Flood Elevation Certificate submitted by your Civil Engineer.

COMMENTS:  Please submit land-clearing permit application with tree survey on site plan for review and approval.  If the land is already cleared, a land-clearing application will still need to be submitted stating that the land is already cleared.  Received on May 28, 2010 – in review.  O.K. and approved per Randy Clement on June 3, 2010.

IV.
PARKING AND ACCESS REVIEW:

A.
Access Analysis:

1. Off-site improvements:  

a. At the location of the proposed development, the anticipated peak 

demand warrants installation of off-site access improvements such as turning lanes or median cuts.  (Ord. No. 2941; COO App E, Part 2)
NOTE:  You must use one of the following qualified traffic study firms for a letter or a study:  Urban Systems, Inc. (N.O 504-523-5511.), Burk-Kleinpeter, Inc. (N.O 504-486-5901.), Neel-Schaffer, Inc. (B.R.225-924-0235), Evans-Graves Engineering (Met. 504-836-8190), Sain Associates, Inc. (Birm., AL 205-940-6420), Krebs, LaSalle, LeMiex Consultants, Inc. (Met. 504-837-9470), Kelly J. McHugh & Associates, Inc. (Mandeville 985-626-5611), Richard C. Lambert Consultants (Mandeville 985-727-4440), Dean Tekell Consulting (Laf. LA 337-988-5211) or J.V. Burkes & Associates, Inc. (Slidell 985-649-0075).  

COMMENTS:  Please submit a traffic impact study (2 copies) or letter stating one is not required.  Received on June 2, 2010 – in review.

b.
All new or expanding developments, typically generating 100 hourly trips in the peak direction on state highways and on local public or private streets, with an access point within 0.25 of a mile of a state highway is required to have the traffic study approved by DOTD.  (Title 70, Part I, Chapter 11, §1101)
COMMENTS:  Please submit Letter of Compliance from DOTD approving the traffic impact study only if the TIA is 100 or more trips.  50 peak hours – N/A

c.
If a driveway attaches to a State road, a copy of the LA DOTD driveway permit will be required to be submitted with package. (Contact LA DOTD at 985-375-0130).  Some of the State roads within Slidell City limits are:  Gause Boulevard, Gause Boulevard West (Highway 190), Gause Boulevard East, Fremaux Avenue (US Highway 190), Shortcut Road (US Highway 190), Robert Boulevard (County Highway 1091), Front Street (US Highway 11), Pontchartrain Drive (US Highway 11), US Highway 11, Old Spanish Trail (LA Highway 433), and Bayou Liberty Road (LA Highway 433).  Contact LA DOTD for a current list.


COMMENTS:  Please submit a copy of the DOTD driveway permit.  Received on 
June 7, 2010 – O.K. and approved.
 
2.
Access point location:

a.
Driveways will not be allowed within the limits of the turnout radii at an intersection.  The driveway should be located as far away from the intersection as practical, and desirably outside the limits of turning lanes and other auxiliary lanes.  (LA DOTD 6.7.1(6))  [Driveway = 25’ from radii of turnout of intersection to the radii of the turnout of driveway.]  No entrance or exit at the intersection of two (2) state highways shall be within the area between lines drawn perpendicular to the center line, or axis, of the highway from points on the right of way lines a distance of twenty-five (25) feet from the intersection of said right of way lines; provided that this distance may be reduced at the discretion of the Permits Engineer to fifteen (15) feet in the case of a highway intersecting a street; further provided that no part of any entrance or exit be within the radius of any intersecting highway or street; further provided that at intersections where additional right of way has been secured for the highway back of the prolongation of the normal right of way lines in order to provide for the channelization of traffic, or more adequate sight distance, no part of any entrance or exit shall be permitted to encroach on such additional right of way.  (LA DOTD Driveway Permit (m))

COMMENTS:  Please submit a copy of the DOTD driveway permit.  Received on 
June 7, 2010 – O.K. and approved.
b.
Whenever possible, access driveways should be aligned directly with access driveways on the opposite side of the street.  This requirement is not applicable on streets divided by a median.  (LA DOTD 6.7.1(3))

COMMENTS:  Please submit a site plan showing the location of driveways adjacent to or across from this property.  (C-1(a)) O.K. and approved.


3.
Internal traffic lanes:  Travel lane width – Travel lanes servicing 30, 45, 


60 and 90 degree adjacent parking should provide travel lane widths as 


follows:



30 DEGREE PARKING – 11-13 FEET



45 DEGREE PARKING – 13-15 FEET



60 DEGREE PARKING – 18-20 FEET



90 DEGREE PARKING – 24-26 FEET

COMMENTS:  24’ – O.K. and approved. Future Drive=15’ 4”(right), 32’(rear) & 25’ 4” (left) – Please show future parking on site plan.  (C-1) 15’, 20’ & 15’ – O.K. and approved.

4.
Parking stall size – One automobile parking space shall be an area not less than nine (9) feet by twenty (20) feet.  This stall size must be appropriately adjusted for other angular configurations.  Provided that a lot is double striped to accommodate targeted parking, an 8.5’stall is allowed for C-6 Zoning Districts.  (Z.O. Part 9 Definitions – 9.24)
COMMENTS:  9’ X 20’ – O.K. and approved.  Please show future parking on site plan.  (C-1) 9’ X 20’ – O.K. and approved.

5.
Parking area surface – Parking areas should be surfaced with at least four (4) inches of concrete, four (4) inches of bituminous asphalt paving, or a pervious material such as grass crete.  Shell, gravel, or limestone is not an acceptable surface material. (Z.O. Sec. 4.1 & 4.2)
COMMENTS:  Please submit parking area surface detail or statement of pavement.  (C-1(a)) Concrete – O.K. and approved.

V. 
EXTERIOR LIGHTING:  Section 2.19(J) in the Zoning Ordinance regulates glare.       

A.
Hours of Operation – Lighting of parking or loading areas shall, except for emergency or safety lighting, cease at or before the hour of midnight when these areas face a residential district where the distance from the nearest light to the nearest residence is less than one thousand (1,000) feet, except in those instances in which a business establishment is open and business is being conducted after midnight.  (Z.O. Sec. 2.19 (J(4(a)))
COMMENTS:  Please submit letter from business owner that states the business hours and that this requirement is understood and would be followed.  Received letter on June 2, 2010 – O.K. and approved.
B.
Blinking or Intermittent Lights – No exterior lights that blink or shine with an intermittent phase are permitted in any district, except as part of Christmas decorations.  (Z.O. Sec. 2.19 (J(5))  This includes signs.

COMMENTS:  Please submit letter from the business owner that this requirement will be met.  Received letter on June 2, 2010 – O.K. and approved.
PAGE  
7

