Dammon Engineering, Inc.

dammonengineering.com


1095 Florida Ave.



P.O. Box 2830



            985-649-5832

Slidell, LA 70458



Slidell, LA  70459


   FAX 985-641-5950

November 4, 2010

Mr. John Laudun

Office of State Fire Marshal

8181 Independence Blvd.

Baton Rouge, LA 70806

RE:  
P0388709


3929 Bienville Ave


New Orleans, LA 70119

Dear Mr. Laudun,

With regard to the above referenced project.  Please find attached a revised coversheet with a scaled site plan.  This is a natural gas generator and there is no fuel storage for this project.  There is no fuel storage or incinerator on the property.  

Manufacturer’s data sheet is attached.

If you have any questions, please feel free to call.

Sincerely,

David Dammon

Project Manager

