DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


554 Old Spanish Trail


                 P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

June 7, 2011
To: 
Roe Dietrich

Building Inspector


City of Slidell, Dept. of Building Safety

REF: Rain Forest Carwash
Dear Mr. Dietrich,

Please see the attached documents regarding the required guardrail and live load information.
The plans have been modified to show the following:

1. The required Ground snow load = 5 psf (per the IBC 2009, fig. 1608.2)
2. The required Roof live load = 20 psf uniform and 300 psf concentrated.
(per IBC 2009, fig.1607.1)
3. The required design Wind pressure = 33.6 psf (per ASCE 7-05 fig. 6-2)

4. A guardrail has been added to area where the change in elevation exceeds 30”.
5. The pre-fabricated metal awnings for the vacuum stations shall be designed for 130 mph wind load.
Sincerely,

Brandon Nowakowski

Dammon Engineering

