COMMERCIAL CHECKLIST

This checklist is merely a preliminary review of the proposed site plan received by our office.  Please understand that our review is limited and shall not constitute approval development or specific plan layout until all components of this checklist are approved by the Planning Department.  Items that are highlighted are items that need to be corrected.

       FILE NAME:  Rain Forest Carwash

      APPLICANT:  Dammon Engineering, Inc. (Chuck Dammon)

           DEVELOPMENT 

                   LOCATION:  3017 Pontchartrain Drive

                              DATE:  May 31, 2011

                   REVIEWER:  Nancy Durham, CFM

     ZONING DISTRICT:  C-4 Highway Commercial

          PROPOSED USE:  Car Wash

            PREVIOUS USE 

            OF PROPERTY:  Fast Food Restaurant

GROSS FLOOR AREA:  3,692 sq. ft.

VI.
BUFFER ZONE REVIEW: 

A.
Buffer zone required – The Zoning Ordinance requires that a buffer zone be established between differing land uses as follows:  (Z.O. Sec. 2.2209)








LDR
HDR
C
LI
HI

LOW DENSITY RESIDENTIAL (LDR)

   X
X
X
X

HIGH DENSITY RESIDENTIAL (HDR)


X
X
X

COMMERCIAL (C)






X
X

LIGHT INDUSTRIAL (LI)






X

HEAVY INDUSTRIAL (HI)


X – Buffer Zone Required

       LDR – Single Family Detached Dwelling

       HDR – Attached Dwellings

            COMMENTS:  A buffer zone is required along the rear of the property.

NOTE: IF SUBDIVIDED, BURDEN OF BUFFER FENCE FALLS ON THE COMMERCIAL DEVELOPER. 


C.
Ten foot buffer area established – A ten foot landscaped area is required between the abutting land uses.  Trees must be located in the ten-foot area with a 20-25 foot on center spacing (maximum).  (Z.O. Sec. 2.2211)

COMMENTS:  150.4’ = 6-8 trees required in this area.  Please submit a signed or stamped, detailed landscape plan with legend from a Licensed LA Landscape Architect or a Licensed LA Landscape Contractor that has a contract to install the landscaping and maintain the site.

VII.
LAND CLEARING REVIEW:  In order to preserve existing trees on development sites, the Zoning Ordinance requires that a land clearing permit be approved prior to receiving a building permit.  Canopies of protected trees that overhang the property lines of the lot to be developed must be brought to our attention.  The City will give consideration to the following site conditions in its review of land clearing permit applications. (Z.O. Sec. 2.2502)

A. Land Clearing or Protected Tree Removal Permit Required – Application Requirements.  Application for a land-clearing permit shall include the following items:  (Z.O. Sec. 2.2503 (1-2(a-d)))

1.
A plot plan of the proposed development.

2.
A landscape plan (tree survey on proposed site plan), which identifies:

a.
Existing stands of trees on the development site.

b.
The specific location of live oak and magnolia trees twelve (12) inches in diameter and all other trees fifteen (15) inches in diameter as measured twenty-four (24) inches above grade.

c.
Trees or stands of trees proposed for retention on the site.

d.
The intended method for marking reserved trees prior to land clearing shall be identified in the application.  The preferred method of marking is stapling all weather plastic tape to trees.  The use of spray paint for this purpose is specifically prohibited.

NOTE:  The Planning Department has ten (10) days to review this application and conduct a site visit.

COMMENTS:  Please submit land-clearing permit application with tree survey on site plan for review and approval.  If the land is already cleared, a land-clearing application will still need to be submitted stating that the land is already cleared.  

B. Pre-Clearing Inspection Required – The party issued a land-clearing permit shall notify the building official in writing twenty-four (24) hours before starting the land clearing activity. The building official or his designated representative shall inspect the clearing site prior to the start of clearing to assure that the protected trees are identified on site as indicated in the land clearing permit application.  (Z.O. Sec. 2.2505)

COMMENTS:  Please contact the Planning Department for a land clearing

inspection once all the trees are marked for removal.

C.
Other Notes:

1.
Parcel Size – The ability of a developer to design a site plan that accommodates existing trees is dependent on the size of the parcel in question.  It is much more difficult, for example, to incorporate a specimen tree into a site plan on a 50 ft. by 120 ft. lot than a one acre parcel.

2.
Condition of Existing Trees – Efforts must be undertaken by the developer to minimize the impact of construction activities on trees intended for retention.  However, in all probability, the trees will undergo some stress from related construction.  If the trees are in poor condition prior to start of construction, even minimal additional stress could kill them.  Consequently, such trees are poor candidates for retention.

3.
Growth Conditions – From a road, a densely vegetated parcel appears to be an excellent candidate site for tree retention efforts.  A close examination of such sites often produces a different conclusion.  Trees that have grown along the perimeter of the tree line often are vegetated only on one side.  Trees that have grown in the interior of the site may be only vegetated at the very top of the tree.  This is particularly true of pine trees.  Consequently, in such circumstances, it is not advisable to leave individual trees.  Instead, clusters of trees should be retained.

4.
Types of Trees – Certain species of trees are more desirable than others.  Oaks, magnolias, pecans, hollies, and other hardwoods are more desirable for retention.

5.
Elevation and Drainage Changes – The life system of a tree can be critically affected by placing fill or any impervious surface over its root system.  Likewise, any excavation from the feeder root system to the trunk of the tree will also critically affect it.  However, through proper retention methods such trees can be effectively retained on a given site. (See City’s procedure on “Standards for Tree Retention”)  Amount of fill to be placed on the property will greatly depend on the Flood Elevation Certificate submitted by your Civil Engineer.

COMMENTS:  Please submit land-clearing permit application with tree survey on site plan for review and approval.  If the land is already cleared, a land-clearing application will still need to be submitted stating that the land is already cleared.  

VIII.
TECHNIQUES FOR PROTECTION OF TREES:  The following shall be utilized to retain 
existing trees:  (Z.O. Sec. 2.2506(1-5))

1.
Parking areas and building sites shall be located to preserve existing trees.

2.
Grates or other pervious surfaces shall be utilized within the drip line (outermost limit of horizontal branch extension) of existing trees to allow water and air to reach the tree roots.

3.
Fill shall be prohibited in areas under the drip line of existing trees.

4.
Drastic changes in drainage patterns, which might negatively affect existing trees shall be avoided.

5.
All trees to be retained shall have a perimeter fencing at the extreme outer edge of the tree canopy.  The fencing shall be flagged with yellow caution tape or yellow pennants, and shall remain in place throughout the construction period.  There shall be no activity of any kind inside the perimeter other than hand brush clearing.  No land clearing or building permits shall be issued until the perimeter of all protected trees and tree stands have been properly fenced.

COMMENTS:  Please submit a detailed tree protection plan as outlined above. 

Please schedule a tree site inspection once existing trees are protected.    

IX.
LANDSCAPE REQUIREMENTS REVIEW:  The Zoning Ordinance establishes landscape requirements for commercial developments.

NOTE:  LOUISIANA STATE LAW REQUIRES A LANDSCAPE PLAN MUST BE STAMPED BY A LICENSED LOUISIANA ARCHITECT OR A LICENSED LOUISIANA LANDSCAPE CONTRACTOR.  (Z.O. Sec. 2.2502, La. R. S. 3:3808 (E) & (F), and L.A.C. 7:XXIX.117 (B) & (F))

A.
Perimeter Planting Area – A perimeter planting area ten (10) feet in width must be provided off the public rights-of-way between the rights-of-way and parking area or structures.  Planting materials should achieve a balance between low-lying vertical and horizontal shrubbery and trees. (Z.O. Sec. 2.2513)  Trees shall be placed no more than 20-25 foot on center spacing with a compliment of no less than 10 shrubs per tree.

COMMENTS:  150.4 = 6-8 trees and 60-80 shrubs required in this area.  Please submit a signed or stamped, detailed landscape plan with legend from a Licensed LA Landscape Architect or a Licensed LA Landscape Contractor that has a contract to install the landscaping and maintain the site.

B.
Parking Lot Planting – Parking lot interiors should be designed to provide at least one (1) tree for every twelve (12) parking spaces.  Each tree should be located in a landscaped island of at least two hundred (200) square feet and tree trunks shall be placed at a minimum of five (5) feet from all curbs or wheel guards.  Trees must be distributed uniformly throughout the parking lot so as to provide a canopy effect.  (Z.O. Sec. 2.2514)

COMMENTS:  Please submit a signed or stamped, detailed landscape plan with legend from a Licensed LA Landscape Architect or a Licensed LA Landscape Contractor that has a contract to install the landscaping and maintain the site.

C.
Pedestrian Access Planting – Landscaped areas must be provided between the building faces having access and the parking lot.  Such areas should provide 200 sq. ft. of landscape open space for each 50’ of linear building face.  {Four (4) sq. ft. landscaped area per every linear foot of building face.}  No planting area should be less than five (5) feet wide and planting materials should achieve a balance between low-lying and vertical shrubbery and trees. (Z.O. Sec. 2.2515)

COMMENTS:  115.4 X 4 = 461.6 sq. ft. of landscaping required.  Please submit a signed or stamped, detailed landscape plan with legend from a Licensed LA Landscape Architect or a Licensed LA Landscape Contractor that has a contract to install the landscaping and maintain the site.

D.
Tree Height – Trees selected shall have a minimum maturity height of at least 
twenty (20) feet.  (Z.O. Sec. 2.2516)  

COMMENTS:  Please submit detailed legend with minimum maturity height for each type of tree on the landscape plan.

E.
Required Inspection – The landscaping will be inspected and approved prior to 
the issuance of a certificate of occupancy.  (Z.O. Sec. 2.2517)

COMMENTS:  Please schedule a final inspection once all landscaping is complete with the Planning Department.

X.
PARKING AND ACCESS REVIEW:

A.
Demand Computation – The applicable demand computation for indicated use is calculated as follows:  (Z.O. Sec. 4.201-4.225)




Total Gross Floor Area:  3,692 sq. ft.




Required Parking Spaces:  




Handicap Parking Spaces Provided:  

COMMENTS:  Is this a manned or unmanned facilities?  How many employees will be on site?  Please submit letter.

B.
Access Analysis:

1. Off-site improvements:  

a. At the location of the proposed development, the anticipated peak 

demand warrants installation of off-site access improvements such as turning lanes or median cuts.  (Ord. No. 2941; COO App E, Part 2)

NOTE:  You must use one of the following qualified traffic study firms for a letter or a study:  Urban Systems, Inc. (N.O 504-523-5511.), Burk-Kleinpeter, Inc. (N.O 504-486-5901.), Neel-Schaffer, Inc. (B.R.225-924-0235), Evans-Graves Engineering (Met. 504-836-8190), Sain Associates, Inc. (Birm., AL 205-940-6420), Krebs, LaSalle, LeMiex Consultants, Inc. (Met. 504-837-9470), Kelly J. McHugh & Associates, Inc. (Mandeville 985-626-5611), Richard C. Lambert Consultants (Mandeville 985-727-4440), Dean Tekell Consulting (Laf. LA 337-988-5211) or J.V. Burkes & Associates, Inc. (Slidell 985-649-0075).  

COMMENTS:  Please submit a traffic impact study (2 copies) or letter stating one is not required.  Received traffic letter on May 31, 2011 – In review.

b.
All new or expanding developments, typically generating 100 hourly trips in the peak direction on state highways and on local public or private streets, with an access point within 0.25 of a mile of a state highway is required to have the traffic study approved by DOTD.  (Title 70, Part I, Chapter 11, §1101)

COMMENTS:  Please submit Letter of Compliance from DOTD approving the traffic impact study only if the TIA is 100 or more trips.  O.K. and approved.

c.
Whenever possible, access driveways should be aligned directly with access driveways on the opposite side of the street.  This requirement is not applicable on streets divided by a median.  (LA DOTD 6.7.1(3))

COMMENTS:  Please show driveways that are adjacent to and across from this property on the site plan.  Are the driveways changing or remaining the same?

XII.
REQUIRED YARD AREA SETBACKS:  In addition to the setbacks previously identified, the Zoning Ordinance requires other applicable setbacks.

B.
Accessory Uses – The Zoning Ordinance regulates the location of accessory buildings and uses.  (Z.O. Sec. 10.4)

COMMENTS:  Please submit architectural elevations for the canopies and details on the entry units and entry gates.

XIII.
LOCATION OF DUMPSTERS:  

A.  
Section 23-13 of the City of Slidell Solid Waste Ordinance requires every commercial site to provide containers capable of handling a week’s accumulation of trash in a sanitary manner.  The location of commercial dumpsters shall be located on the site plan and should be incorporated into the design for ease of access.  The dumpster shall be screened with a solid wood fence and gate or other suitable materials approved by the Planning Department. (COO Sec. 23-17)

COMMENTS:  8’ X 10’ dumpster pad enclosed with 8’ wood fence with gate – please submit details.

XIV.
LOCATION OF LITTER RECEPTACLES:  The receptacles shall be located on the site plan and should be incorporated into the design for ease of access.  The state’s litter law requires every property which is held out to the public as a place for parking consisting of fifteen or more parking spaces shall be responsible for the procurement, placement, and maintenance of litter receptacles. (LA RS 30: §2535(A))  Litter receptacles shall be required at any parking lot consisting of thirty or more parking spaces operated for public use.  (LA RS 30: §2535(C))

COMMENTS:  Please show location of litter receptacles.

XVI.
SIGNS:  All types of signage require permits.  Experience has indicated that in all too many cases, signage is an afterthought.  Signage should be part of the design process and considered an integral part of the site planning process.  A sign review and approval will be made by the Planning Department before a permit is issued.  Submit the sign packet as a separate packet for the types of signage listed below for review and approval. Reminder: Every sign will require a building permit.  (Z.O. Sec. 503 & 504)


Freestanding Signs (Single or Complex)


Fascia Signs (Building or Wall Signs)


Directional Signs


Interstate Signs (if applicable)


Banners (Temporary Signs)


COMMENTS:  Please submit a sign permit application for any new freestanding or fascia signs.

XVII.
EXTERIOR LIGHTING:  Section 2.19(J) in the Zoning Ordinance regulates glare.       

B.
Hours of Operation – Lighting of parking or loading areas shall, except for emergency or safety lighting, cease at or before the hour of midnight when these areas face a residential district where the distance from the nearest light to the nearest residence is less than one thousand (1,000) feet, except in those instances in which a business establishment is open and business is being conducted after midnight.  (Z.O. Sec. 2.19 (J(4(a)))

COMMENTS:  Please submit letter from business owner that states the business hours and that this requirement is understood and would be followed.    

C.
Blinking or Intermittent Lights – No exterior lights that blink or shine with an intermittent phase are permitted in any district, except as part of Christmas decorations.  (Z.O. Sec. 2.19 (J(5))  This includes signs.

COMMENTS:  Please submit letter from the business owner that this requirement will be met. 



