[image: image1.jpg]IDAMMON

ENGINEERING | NLC.

J  Archiltectls & Engineers




554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

dammoneng@bellsouth.net


September 04, 2013
Nahketah Bagby
Planning Director
P.O. Box 778
317 N. Jefferson Ave.
Covington, LA 70434
RE: Lot 288, New Office Bldg. La Hwy 21 & Marigold
Ms Bagby
A) We have calculated the parking area @ 300 sq.ft for office bldg. = 27 parking spaces that are required and we have provided 45 parking spaces. 

B) We have contacted Helen Lambert at the parish to verify the setbacks and she has approved.

C) We have contacted St. Tammany Parish for sewage and water. They have approved us to connect to the existing 8” water line in front of the site along Hwy 21 and have also approved the connection of a force main into their system.

D) We are leaving some of the existing trees on the North and East side of the property and are leaving all the underbrush and existing trees on the south side of the property to create the required buffer.

If you have any questions, or require additional information, please feel free to call.

Sincerely,
Chuck Dammon

V/P Project Manager

Dammon Engineering

	Textron Stone Road

	 
	
	
	
	 

	Description
	Quantity
	Unit
	Cost/Unit
	Cost

	 
	
	
	
	 

	Mobilization Fee
	1.0
	Each
	 
	$15,000.00

	Remove existing concrete drive
	1044.0
	/Sq. Yd.
	$15.00
	$15,660.00

	Remove existing earth (4ft depth)
	3285.0
	/Cu. Yd.
	$25.00
	$82,125.00

	Install new fill, replace 4ft depth plus additional fill
	5314.0
	/Cu. Yd.
	$25.00
	$132,850.00

	Install new 8" concrete drive
	2464.0
	/Sq. Yd.
	$60.00
	$147,840.00

	Storm Pipe elliptical 29"x45"
	160.0
	/8ft Sec.
	$178.00
	$3,560.00

	Storm Pipe elliptical 14"x23"
	130.0
	/8ft Sec.
	$80.00
	$1,300.00

	Roll Up Doors 20'x16' height
	5.0
	/door
	$16,000.00
	$80,001.00

	Bldg Addition
	3348.0
	/Sq. Ft.
	$150.00
	$502,200.00

	 
	
	
	
	 

	 
	
	
	Total Construction
	$980,536.00

	 
	
	
	
	 

	A&E Fees
	 
	 
	7%
	$66,637.52


