DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


554 Old Spanish Trail


                 P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

November 16, 2011
To: 
Hunter Charbonnet

Casey Civil, LLC

1080 Old Spanish Trail, Ste.8


Slidell, LA 70458

REF: Roof Curb Calculations


PNK Support Facility


Baton Rouge, LA

Dear Mr. Charbonnet,

Dammon Engineering was contacted to verify adequate structural support for various roof mounted equipment for the above referenced project. 
Equipment:

· United Intertech Intake Ventilation Hood = Approx 680lbs.

· Twin City Fan & Blower Exhaust Fans: 

Various sizes, calculations are based on heaviest hood = 165lbs.

Assumptions:
· Roof curb bearing on a minimum of 2 Horizontal Z-shape (Z8.50x0.105) roof purlins
· Maximum Deflection of Purlins = L/360
· Placement of Roof Curbs as shown on Sheet FA1.00 (attached)

   The proposed Roof curb Supports are approved as shown in the attached calculations.    

   Install all framing and roof curb components per manufacturer requirements to provide a   

   complete curb system.

   Sincerely,

Emmett G. Dammon, P.E.

Dammon Engineering

