	CAPACITY (IN POUNDS)
	2000 
	MACHINE ROOM
CLEAR HEIGHT
	7 '-0 '' 

	OPENINGS
	FRONT & REAR 
	MACHINE ROOM
CLEAR HEIGHT *5
	8 '-6 '' 

	HOISTWAY
DIMENSIONS
	CLEAR HOISTWAY
1 CAR WIDTH *2
	T1 
	8 '-4 '' 
	MACHINE
ROOM
DIMENSIONS 
	1 CAR
WIDTH
	T4 
	8 '-4 '' 

		CLEAR HOISTWAY
2 CAR WIDTH *2
	T2 
	17 '-0 '' 
		2 CAR
WIDTHS
	T5 
	17 '-0 '' 

		WALL TO WALL
CLEAR DEPTH *1
	T3 
	6 '-8 '' 
		DEPTH
	T6 
	16 '-0 '' 

	CLEAR *3
OVERHEAD
	<400FPM 
	16 '-4 '' 
	HOSPITAL APPLICATION
	NO 

	MINIMUM 
PIT DEPTH
	<400FPM 
	5 '-0 '' 
	
	ENTRANCE
SIZE 
	DOOR WIDTH
	3 '-0 '' 
	
		DOOR HEIGHT
	7 '-0 '' 
	
	PLATFORM
SIZES 
	WIDTH *2
	W
	6 '-0 '' 
	
		DEPTH *1
	D
	5 '-7 '' 
	

	 

[image: image1.png]



[image: image2.png]Traction Machine Room

CONSULT COMPANY FOR
SPECIAL CONDITIONS




[image: image3.png]TRRVEL

st
PIT OEPTH

Y




 

(1)

For Applied Panels Add 1"

(5)
To Bottom Of Hoist Beam

(2)

For Applid Panels Add 2"

(6)
Clearance May Very Due To Machinery Requirements, 

(3)

Based On 7'-7" O.A. Cab Height

M/R Door Location & Electrical Code

(4)
Subtract 3" For Speed 100 FPM Or Less

Delta Elevator Reserves The Right To Change Dimensions. Revised 06/2003.



 

	CAPACITY (IN POUNDS)
	2000 
	MACHINE ROOM
CLEAR HEIGHT
	7 '-0 '' 

	OPENINGS
	FRONT & REAR 
	MACHINE ROOM
CLEAR HEIGHT *5
	8 '-6 '' 

	HOISTWAY
DIMENSIONS
	CLEAR HOISTWAY
1 CAR WIDTH *2
	H1 
	7 '-4 '' 
	MACHINE
ROOM
DIMENSIONS 
	1 CAR
WIDTH
	H4 
	5 '-6 '' 

	
	CLEAR HOISTWAY
2 CAR WIDTH *2
	H2 
	15 '-0 '' 
	
	2 CAR
WIDTHS
	H5 
	11 '-0 '' 

	
	WALL TO WALL
CLEAR DEPTH *1
	H3 
	6 '-8 '' 
	
	DEPTH
	H6 
	7 '-0 '' 

	CLEAR *3
OVERHEAD
	>100FPM *4 
	12 '-4 '' 
	HOSPITAL APPLICATION
	NO 

	MINIMUM 
PIT DEPTH
	<200FPM 
	4 '-0 '' 
	

	ENTRANCE
SIZE 
	DOOR WIDTH
	3 '-0 '' 
	

	
	DOOR HEIGHT
	7 '-0 '' 
	

	PLATFORM
SIZES 
	WIDTH *2
	W
	6 '-0 '' 
	

	
	DEPTH *1
	D
	5 '-7 '' 
	


 

	[image: image4.png]



[image: image5.png]Hydraulic Machine Room

~—Hs.
i

[t

Y|
N\

‘CONSULT COMPANY FOR
‘SPECIAL CONDITIONS.





	[image: image6.png]:

_AIEIV
onr-tom]

>l

_Alﬁlv
ot )

>[<2






 

	(1)
	For Applied Panels Add 1"
	(5)
	To Bottom Of Hoist Beam

	(2)
	For Applid Panels Add 2"
	(6)
	Clearance May Very Due To Machinery Requirements, 

	(3)
	Based On 7'-7" O.A. Cab Height
	
	M/R Door Location & Electrical Code

	(4)
	Subtract 3" For Speed 100 FPM Or Less
	
	


	Delta Elevator Reserves The Right To Change Dimensions. Revised 06/2003.


