DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

September 17, 2007

Slidell Permit Office

Inspection and Code Enforcement

Atten: John Cramer

RE: Mr. Jacques Bremond

       Slidell Furniture Outlet

       3293 Pontchartrain Drive

       Slidell, La. 70458

Mr. Cramer

We have inspected the strapping for the new roof that was installed at this site and find it to be in compliance with all strapping procedures.

Please call me with any questions you may have.

Chuck Dammon 

Dammon Engineering

