[image: image1.jpg]IDAMMON

ENGINEERING | NLC.

J  Archiltectls & Engineers






     
Phone: 985-649-5832

Fax: 985-641-5950








 dammonengineering.com

dammoneng@bellsouth.net


                 September 12, 2012
   To: 
Jay Pittman, E.I.
St. Tammany Parish 

Department of Engineering

21490 Koop Dr.

Mandeville, LA 70471

REF: B & W Trucking

130 Industrial Park

Slidell, LA

Dear Mr. Pittman,

Here are the cut and fill calculations for this site.

Cut below B.F.E. of the existing shell parking area = 3579 yd3
Volume of new concrete below B.F.E. for parking area = 3579 yd3

Ditch (fill) 156.5 yd3

Pipe (cut) 9.08
Total cut = 3579 yd3
Total fill   = 3579 yd3

The existing shell parking area shall be reworked to allow the new concrete parking area elevations and meet the minimum required cuts needed to achieve “No net Fill” for this Site. Only the parking area shall (shell parking) will have fill removed and added to the ditch to fill in around the pipe, so no extra fill will be brought on site.
Sincerely,

Emmett G. Dammon
