STATE OF LOUISIANA

BRIDGE CITY CENTER FOR YOUTH

SEWER SYSTEM RENOVATION

BRIDGE CITY, LOUISIANA

PROJECT NO. 08-403-11-01, PART 01 AND 08-403-04B-01, PART 20


Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 01 32 33 - PHOTOGRAPHIC DOCUMENTATION
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes administrative and procedural requirements for the following:

1. Preconstruction photographs.

2. Periodic construction photographs.

B. Related Requirements:

Retain subparagraph below to cross-reference requirements Contractor might expect to find in this Section but is specified in other Sections.

1. Section 017700 "Closeout Procedures" for submitting photographic documentation as Project Record Documents at Project closeout.

1.2 INFORMATIONAL SUBMITTALS

A. Digital Photographs: Submit to Architect unaltered, original, full-size image files within three (3) days of taking photographs.

1. Digital Camera: Minimum sensor resolution of 8 megapixels.

2. Identification: Provide the following information with each image description in file metadata tag:

a. Name of Project.

b. Date photograph was taken.

c. Indicating location and direction (by compass point).

Retain "Construction Photographs" Paragraph below if Contractor is required to submit hard-copy prints of digital photographs in addition to electronic file submittal.

PART 2 -  PRODUCTS

2.1 PHOTOGRAPHIC MEDIA

Format in "Digital Images" Paragraph below is compatible with all digital cameras.

A. Digital Images: Provide images to Architect in JPG format, with minimum size of 8 megapixels.

PART 3 -  EXECUTION

3.1 CONSTRUCTION PHOTOGRAPHS

See Evaluations for other methods of assigning responsibility in "Photographer" Paragraph below.

A. General: Take photographs using the maximum range of depth of field, and that are in focus, to clearly show the Work. Photographs with blurry or out-of-focus areas will not be accepted.

1. Maintain key plan with each set of construction photographs that identifies each photographic location.

Insert requirements for other procedures, such as lighting levels and absence or presence of people.

B. Digital Images: Submit  to Architect digital images exactly as originally recorded in the digital camera, without alteration, manipulation, editing, or modifications using image-editing software.

1. Date and Time: Include date and time in file name for each image.

2. Field Office Images: Maintain one set of images accessible in the field office at Project site, available at all times for reference. Identify images in the same manner as those submitted to Architect.
Retain "Preconstruction Photographs" Paragraph below if required to show preexisting conditions.

C. Preconstruction Photographs: Before starting construction take photographs of Project site and surrounding properties, including existing items to remain during construction, from different vantage points, as directed by Architect.

1. Flag construction limits before taking construction photographs.

2. Take photographs to show existing conditions adjacent to property before starting the Work.

3. Take photographs of existing buildings either on or adjoining property to accurately record physical conditions at start of construction.

Requirements in "Periodic Construction Photographs" Paragraph below are minimal but adequate for many projects. If needed, add requirement for photographs to be taken of spaces that contain utilities before enclosing finishes are installed.

D. Periodic Construction Photographs: Take photographs weekly, with timing each month adjusted to coincide with the cutoff date associated with each Application for Payment. Select vantage points to show status of construction and progress since last photographs were taken.

E. Final Completion Construction Photographs: Take color photographs after date of Substantial Completion for submission to Architect as Project Record Documents. Architect will inform photographer of desired vantage points.

F. Additional Photographs: Architect may request photographs in addition to periodic photographs specified. Additional photographs will be paid for by Change Order and are not included in the Contract Sum.
1. Three days' notice will be given, where feasible.

2. In emergency situations, take additional photographs within 24 hours of request.

3. Circumstances that could require additional photographs include, but are not limited to, the following:

List below is an example only. Revise to suit Project.

a. Special events planned at Project site.

b. Immediate follow-up when on-site events result in construction damage or losses.

c. Substantial Completion of a major phase or component of the Work.

d. Extra record photographs at time of final acceptance.

e. Owner's request for special publicity photographs.

If needed, insert requirements for aerial photographs.

END OF SECTION 01 32 33

	PHOTOGRAPHIC DOCUMENTATION
	01 32 33 - 1



