Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 011100 – SUMMARY OF WORK
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

This Section supplements the requirements of the Owner-Contractor Agreement and General Conditions published by the AIA. When other contract documents are used for Project, coordinate the requirements found here.

Much of this Section consists of Project-specific data. Examples given in the model text in the Evaluations illustrate possible Section content. Use the model text to develop text for specific Project requirements. See Evaluations.

This Section and others in Division 01 that deal with multiple contracts use four contracts to illustrate a typical project conducted under multiple contracts. Revise to suit Project.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

Retain or delete this article in all Sections of Project Manual.

A. Section Includes:

1. Project information.

2. Work covered by Contract Documents.

3. Phased construction.

4. Work under separate contracts.

5. Access to site.

6. Coordination with occupants.

7. Work restrictions.

8. Specification and drawing conventions.

9. Miscellaneous provisions.

1.2 PROJECT INFORMATION

A. Project Identification: 


Sewer System Renovation 









Bridge City Center for Youth 









Project No. :08-403-11-01, Part 01.

B. Project Location: 



Bridge City Center for Youth
3225 River Road

Bridge City, LA 70094

C. Owner: Lance Daniels, Director, 3225 River Road, Bridge City, LA 70094
1. Owner's Representative: <Insert name and contact information for Owner's representative>.

D. Architect: Kevin Kinchen
Retain "Contractor" Paragraph below only if Contractor is selected by negotiation and subcontracts are subsequently bid.

Revise subparagraph below to accurately describe contract structure of Project.

"Project Coordinator for Multiple Contracts" Paragraph below identifies Project coordinator for projects constructed under multiple contracts. Revise if additional information is necessary.

Retain "Project Web Site" Paragraph below if Project uses a project Web site, project extranet, or FTP site for information and document management.

1.3 WORK COVERED BY CONTRACT DOCUMENTS

In first paragraph below, include an abbreviated description of the Work for Project identified in "Project Information" Article. See Evaluations. For single prime contracts, this article may be eliminated.

A. The Work of Project is defined by the Contract Documents and consists of the following:

1. This project is to renovate the main 8” sewer trunk lines with Cured in Place Plastic Pipe (CIPP), renovate all existing manholes with an epoxy resin coating and replace all service connections (pipe) from the existing buildings (approx 5' from the slab) to the main 8” sewer trunk with new PVC pipe. After the main lines are cleaned and videoed, point repairs are made and then a new pipe is inserted inside the old pipe and it is cured in place. Using this renovation technique will minimize the disruption to the facility and along with manhole renovation will result in a “like new” sanitary sewage collection system.
Insert additional paragraphs for other major items of work. See Evaluations for model text.

B. Type of Contract.

Retain one of two subparagraphs below.

1. Project will be constructed under a single prime contract.

Insert additional paragraphs specifying specific limitations on use of existing building. See Evaluations for model text.

1.4 COORDINATION WITH OCCUPANTS

Retain "Full Owner Occupancy" Paragraph below if Owner will occupy all or part of premises during construction. Revise to suit Project. See Evaluations.

A. Full Owner Occupancy: Owner will occupy site and existing and adjacent building(s) during entire construction period. Cooperate with Owner during construction operations to minimize conflicts and facilitate Owner usage. Perform the Work so as not to interfere with Owner's day-to-day operations. Maintain existing exits unless otherwise indicated.

1. Maintain access to existing walkways, corridors, and other adjacent occupied or used facilities. Do not close or obstruct walkways, corridors, or other occupied or used facilities without written permission from Owner and approval of authorities having jurisdiction.

1.5 WORK RESTRICTIONS

A. Work Restrictions, General: Comply with restrictions on construction operations.

1. Comply with limitations on use of public streets and with other requirements of authorities having jurisdiction.

B. On-Site Work Hours: Limit work at the facility to normal business working hours of 7:00 a.m. to 3:30 p.m., Monday through Friday, unless otherwise indicated.

Retain "Existing Utility Interruptions" Paragraph below for existing utilities. Coordinate with requirements for temporary utilities specified in Section 015000 "Temporary Facilities and Controls."

C. Existing Utility Interruptions: Do not interrupt utilities serving facilities occupied by Owner or others, only after providing temporary utility services according to requirements.
Retain "Noise, Vibration, and Odors" Paragraph below for work in or near occupied facilities.

D. Noise, Vibration, and Odors: Coordinate operations that may result in high levels of noise and vibration, odors, or other disruption to Owner occupancy with Owner.

Retain "Nonsmoking Building" Paragraph below if required for LEED.

Retain "Controlled Substances" Paragraph to correspond to Owner's requirements. Revise to suit Project. Where Owner's requirements are extensive, refer to and insert Owner policy and procedure documents to the Project Manual.

E. Controlled Substances: Use of tobacco products and other controlled substances is not permitted on Project site.

Insert additional paragraphs to specify restrictions on Contractor's use of premises or to specify limitations because of Owner occupancy.

1.6 SPECIFICATION AND DRAWING CONVENTIONS

Retain this article or portions of it if an explanation of conventions used in the Specifications and Drawings is necessary. Revise to suit Project. See Evaluations.

A. Specification Content: The Specifications use certain conventions for the style of language and the intended meaning of certain terms, words, and phrases when used in particular situations. These conventions are as follows:

1. Imperative mood and streamlined language are generally used in the Specifications. The words "shall," "shall be," or "shall comply with," depending on the context, are implied where a colon (:) is used within a sentence or phrase.

2. Specification requirements are to be performed by Contractor unless specifically stated otherwise.

B. Division 01 General Requirements: Requirements of Sections in Division 01 apply to the Work of all Sections in the Specifications.

Retain "Drawing Coordination" Paragraph below to explain relationship between Drawing information and Specification content. Revise to suit Project.

C. Drawing Coordination: Requirements for materials and products identified on Drawings are described in detail in the Specifications. One or more of the following are used on Drawings to identify materials and products:

1. Terminology: Materials and products are identified by the typical generic terms used in the individual Specifications Sections.

2. Abbreviations: Materials and products are identified by abbreviations scheduled on Drawings.

3. Keynoting: Materials and products are identified by reference keynotes referencing Specification Section numbers found in this Project Manual.

PART 2 -  PRODUCTS (Not Used)

PART 3 -  EXECUTION (Not Used)

END OF SECTION 011000

	SUMMARY
	011000 - 2



