Juvenile court room design change

Friday, August 03, 2007

Judge Lamz has requested that Dammon Engineering prepare a review of this courtroom and design a recommendation to reposition his podium so that the judge has a direct exit through an existing door into his chambers.

After measuring all sections of the podium and relating it to room size it initially appears reasonable to do so by removing the witness station and relocate it in a location on the opposite side of the podium detached and positioned at about a 45degree to the judge.

Remove the clerk of court station and reposition it on the opposite end of the podium from where it is now stationed.

This will place the judge in approximately the center of the angle of the triangle with adequate space behind and on each side so moving from side to side should not present a problem for him.

If my measurements are correct, by removing one level (there are three) this will reduce the height by 6” still leaving the judge at a height of 17” above floor level.

