Judge Jim Lamz






3/28/07

Slidell City Court

501 Bouscaren Drive

Slidell, LA  70458

RE:
Slidell City Court Roof Repairs

Dear Judge Lamz,

Per our conversation on Wednesday the 28th of March, the following information has been gathered.

American Standard 5Ton 13 seer $9179.00 + $700.00 Crane Total $ 9879.00

Two in stock ready to pick up, price includes adapter curve.
American Standard 5 Ton 10 seer $7185.00 + $700.00 Crane Total 7885.00

Limited number in stock price includes adapter curb.
Adapter Curb takes 1 week to manufacture.
The Trane A/C unit has a higher seer than the American Standard which makes the efficiency higher and does not require the adapter curb, the lead time is three weeks.
We recommend using the Trane A/C units for the simple fact there is no retrofit, they are more economical to operate than the American Standard and there are no additional fittings that would allow water leaks..

If you would like comparative pricing we would be happy to write a specification and go out for bids replacing one or all of the A/C units.

Please contact me with your decision.

Sincerely,

Emmett G. (Pete) Dammon, PE

