September 27, 2006

TO:
All Potential Bidders

RE:
Roof Repairs

Slidell City Court

501 Bouscaren St.

Slidell, LA  70458

Ladies and Gentlemen:

The office building for Slidell City Court has an equipment deck on top of the roof, surrounded by a parapet wall that has one scupper to drain the deck.  There are four identifiable places on the equipment deck that leak rainwater to the office below. Three of these areas are fractures in the roof and the forth is the unprotected parapet, that allows wind driven water up the wall to a point that it leaks into the building. In addition the metal parapet wall was constructed in a manner that allows wind driven rain to enter the building.

This project consists of removing four sides of the metal cap around the parapet wall. Remove all of the interior metal siding of the parapet wall. Remove the rear parapet wall, fabricate the flat deck to a smooth finish to match the rear seal tab roof. Replace all damaged or rotted wood and sealant material with in the parapet wall. Remove the existing torch down roof and install a new roof covering, specified below, over lapping the parapet walls. Reinstall the metal cap around the three walls of the parapet securing it to the wood structure.

Contractor shall have workman’s comp. insurance for employees working on roof.

Please submit all proposals to Dammon Engineering by October     , 2006.

Sincerely,

Emmett G. (Pete) Dammon, PE

