Response to RFI-1222 Back Flow Preventers

There is an existing back flow preventer for the potable water located near the Codifer Street that has been damaged and will have to be replaced with new of similar type. The plumber and I confirmed its location and damage.

The second back flow preventer is located in room 202 for sprinkler system. The plumber and I confirmed its location and it is in new condition.

The third one is needed to tie into the chiller. It shall be a 1” back flow preventer that will tie into the existing 1” copper water line that was originally designated for the pond in the front of the property. Please see the attached dwg for reference.

This is a total of three, which two are existing.

Response to RFI 

