DAMMON ENGINEERING, INC.
dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS

554 Old Spanish Trail



   



     985-649-5832

Slidell, LA 70458



  

                            FAX 985-641-5950

March 19, 2012
Mr. Bruce Crouch, Director

Department of Facilities Management

St. Tammany Parish

P.O. Box 628

Covington, Louisiana  70434

RE:

St. Tammany Parish Administrative Complex, Slidell



Roof Design
Dear Bruce,
We received your roof inspection report and it states that the roof does not meet the IBC wind loads.

Our roof design is for 130 mph wind speed per the IBC for Slidell. 

Our dwgs call for an 18 gauge roof panel.

Gebhard Enterprises was the roof installer and they intern contracted ReRoof America, Inc. to design the roof system and supplied us with a submittal for approval, and we approved as noted.

Your report stated that the roof panel as installed does not meet the dwg requirements. That is correct; you can’t purchase an 18 gauge standing seam roof in the full length panel that we needed for our project. A 24 gauge standing seam roof was submitted and approved to allow the standing seam roof to be full length sheets. 
It was also stated, 

The bids were as follows:
Sincerely,

Emmett G. Dammon, P.E.
