ST. TAMMANY PARISH OFFICE BUILDING 

EXISTING MECHANICAL

MECHANICAL EQUIPMENT IN FIRST FLOOR MECHANICAL EQUIPMENT ROOM:

WATER HEATER


BRADFORD-WHITE MODEL D100T-199-3N, SER.#JJOF32624 


199,999 BTU./HR. INPUT, 181 GAL./HR. FLOW RATE, 100 GAL. CAP.


# 115419LA WRITTEN ON SIDE (LA BOILER PERMIT?)

HOT WATER BOILER


AJAX BOILER INC MODEL WG3250, SER.# 17772 5S


200,000 BTU/HR. INPUT, NATURAL GAS, STEEL TUBE


# 115418LA WRITTEN ON SIDE, STAR SERVICE DECAL- UNIT 2 CODE 0

WHITE-ROGERS “HI LIMIT”/”HI FIRE” SWITCH AND
 HONEYWELL 

“LO FIRE” SWITCH

CIRCULATING PUMP  

CLOSE COUPLED MODEL 74-02 950 WITH MARATHON 5 HP MOTOR

WATER COOLED AIR CONDITIONER/ AIR HANDLING UNIT

WORTHINGTON CORP. MODEL CMC2034B,

SER. # 52A640C-18, STAR SERVICE DECAL- UNIT 1 CODE 0

COMPRESSOR/ OUTLET PLENUM UNIT: 68”W X 64”H X 29”L,

COOLING COIL UNIT: 68”W X 64”H X 22”L,

AIR HANDLING UNIT: 68”W X 41”H X 39”L,

COOLING CAPACITY:

IDENTICAL UNITS ON EACH OF SIX FLOORS

FIRE PANEL

ALARM PANEL

TELEPHONE CONNECTION STRIPS

ELECTRICAL FEED/ CIRCUIT BREAKER PANELS/ DISCONNECT SWITCHES

WATER COOLED AIR CONDITIONER/ AIR HANDLING UNITS

2ND FLOOR- SAME AS 1ST FLOOR, STAR SERVICE DECAL UNIT 4 CODE 0


3RD FLOOR- SER. #52A640C-16, STAR SERVICE DECAL UNIT 5 CODE 0


4TH FLOOR- SER. #52A640C-17, STAR SERVICE DECAL UNIT 6 CODE 0 

5TH FLOOR- SAME UNIT, STAR SERVICE DECAL UNIT 7 CODE 0

6TH FLOOR- SAME UNIT, DAMAGED, NO NAME PLATE, COMPRESSOR/MOTOR REMOVED, DAMPER MOTORS MISSING.


MEZZANINE- TRANE SWUB-C104-H, SER. # T93A00040

ROOF MOUNTED COOLING TOWERS

TWO MARLEY AQUATOWERS, BOTH SER. # 231631 494C, DATED 12/12/02, STAR SERVICE DECAL UNIT 8 CODE 0 

(THEY LOOK IN GOOD CONDITION, BASIN NEEDS THROUGH CLEANING)

COOLING WATER CIRCULATING PUMP SKID PROVIDED BY

THOMAS PUMP & MACHINERY, INC OF SLIDELL

PUMP IS CRANE DEMING FIG. 4021 5X3X10 WITH 9.5” IMPELLER AND 15 HP. MOTOR.


ELEVATORS

BACK (NORTH/WEST) (NEW) ELEVATOR IS THYSSONKRUPP (WAS DOVER ELEVATORS), DECAL SAYS “FACTORY SERVICE- 504-733-6141”

HAND WRITTEN NUMBER “985-264-0130”.  LOCAL THYSSONKRUPP OFFICE IS IN BATON ROUGE @ 225-928-1120.

THE ELEVATOR (NORTH) BETWEEN 1ST AND 2ND FLOORS ALSO HAS A DOVER ELEVATOR DECAL IN THE CONTROL PANEL AND THUS IS A THYSSONKRUPP.

