HOFFMAN BLAST II
by

Circle R Industries, Inc.

Rays' Welding Shop, Inc.
Corporate Office:







Sales Contact:
530 Curtis Ray Road * Midlothian, TX  76065





Joseph H. Hoffman
Office:
972 775-2822 * 972 299-5833





Cell:
214 415-1579
Fax:
972 775-2852







Office:
972 941-8915
e-mail:  circlerindustries@yahoo.com





Fax:
972 941-8916
www.hoffmanblastii.com







e-mail:
jhoffmanblast@verizon.net
December 3, 2008
Gentlemen:
Hoffman Blast II by Circle R Industries, Inc. is submitting a detailed list of items that will be provided by Hoffman Blast II in an attempt to identify the areas of responsibility we each have in getting the total quotation together for the Stennis Space Center Project.

THE ITEMS HOFFMAN BLAST II BY CIRCLE R INDUSTRIES, INC. WILL QUOTE INCLUDE THE FOLLOWING:
a) The entire building structure.

b) The entire equipment room attached to the main building.

c) The entire paint kitchen and equipment area attached to the main building or separate from the building.

d) The heated air make up required for both the blast and paint areas.

e) The humidity control equipment for both the blast and paint areas.

f) All required air conditioning for the blast and paint areas.

g) The paint filtration, fans, motors and ductwork for the paint area.

h) All required abrasive blast equipment and reclamation equipment.

i) All required dust collectors and related ductwork.

j) All required air compressors, air receivers and related piping.

k) All required breathing air and monitoring equipment for both blast and paint.

l) All required paint application equipment.

m) All required electrical controls for the goods quoted.

n) All required lighting for both the blast and paint areas.  We plan on 277 volt lighting with 4 wire Delta service.

o) The erection and installation of all goods quoted by Hoffman Blast II.

p) The wiring from our provided control panels to each point of need and usage.

q) All required air piping for the proposed goods.

NOTE:  IT WILL BE THE RESPONSIBILITY OF OTHERS TO BRING ALL REQUIRED UTILITIES TO OUR CONTROL PANELS AND POINTS OF DEMAND, FOR EXAMPLE, THE PAINT KITCHEN WHICH MAY LOCATE SEPARATE FROM THE MAIN BUILDING STRUCTURE WITH A CENTRAL CONTROL PANEL.

NOTE:  ANY ITEM OR ITEMS NOT SPECIFICALLY NOTED AS SUPPLIED BY HOFFMAN BLAST II IN THE ABOVE LIST WILL BE THE RESPONSIBILITY OF OTHERS.

Page 2

The following items and groupings will not be provided by Hoffman Blast II and will be the responsibility of others:
1) All foundation work and slabs.

2) All site prep.

3) All exceptions taken to the specifications or goods not supplied by Hoffman Blast II.

4) Trench drains at each end of the building if the elevation is in doubt.  No water can get into this building.

5) All fire protection equipment and related goods including alarms.

6) All project demolition.

7) All drainage and landscaping.

8) All major utilities for the project including a main power distribution panel.

9) All phone lines and Ethernet requirements to meet our control needs.

10)   The entire telecommunications system.

11)   The public address system.

12)   All required water and related piping.

13)   All Electrical General Construction Items.  

14)   Emergency lighting and power.

15)   Grounding systems.

16)   Lighting protection.

17)   Plumbing and drains.

18)   Domestic water and its distribution to point of need.

19)   Natural gas and piping to point of connection to supplied devices.

20)   Hazmat station if required.

21)   Sanitary waste and ventilation.

22)   Systems testing adjusting and balancing.  Hoffman will assist in areas of supply of goods.

23)   All site dust control.

24)   All traffic control.

25)   All trash disposal and accumulation bins.

26)   All permits required.  There must be some permits or exemptions required for these types of
  facilities.
27)   All General Contracting licensing and requirements.

28)   All required PQP personnel.

29)   Handling of all lead paint concerns.

30)   Handling of all PCB’s.

31)   All site tree removal, clearing or grubbing.

32)   All General System Requirements.

33)   All debris removal.

34)   All G10 Site Preparation items from General System Requirements, G1010 through G103011.

35)   All G20 Site Improvements from General Systems Requirement G2010 through G205005.

36)   All G30 Site Civil/Mechanical Utilities from General System Requirements, G3010 through G3090.

37)   All G40 Site Electrical Utilities from General System Requirements, G4010 through G4020.

THE ABOVE LIST OF 37 ITEMS WILL BE TOTALLY PROVIDED, INSTALLED AND COMPLETED BY OTHERS.  

Page 3

If you have questions regarding this overview, please contact one of the following:
Dickey Ray, project coordinator, building, concrete and installation
(972) 299-5833 office
Dave Kraker, manager of the electrical goods
(972) 941-8915 office; (214) 949-5346 cell
Joe Hoffman, systems coordinator for all blast and paint related goods
(972) 941-8915 office; (214) 415-1579 cell

We are providing a set of building drawings which should allow you to quote the concrete work.  We will provide a detailed drawing of the proposed foundation requirements for the abrasive reclaim system, dust collector slabs and attached buildings to main structure.  

PLEASE BE REMINDED THAT THIS ENTIRE PROCESS HAS BEEN HASTILY ORGANIZED TO MEET A TIMING DEADLINE AND SOME OF THE DETAILS AND INFORMATION PROVIDED MAY CHANGE OVER THE COURSE OF THE PROJECT COMING TOGETHER AND REACHING FINALITY.  EVERY EFFORT WILL BE MADE TO KEEP EACH AND EVERY ONE OF YOU ABREAST OF THE BEST INFORMATION AVAILABLE.

IF YOU NEED ADDITIONAL INFORMATION REGARDING THIS PROJECT, CALL THE APPROPRIATE PERSON ABOVE FOR DETAILS.  WE HAVE GONE TO GREAT LENGTH TO ENGINEER THE BUILDING AND CONCRETE REQUIREMENTS.  THERE WILL BE DETAILS NOT AVAILABLE FOR ALL ITEMS AT THIS TIME AND WILL NOT BE MADE AVAILABLE UNTIL AN ORDER IS LET AND FINAL ENGINEERING IS COMPLETED.  THERE WILL BE OBVIOUS BLANKS THAT MUST BE FILLED IN BY ALL OF US TO COMPLETE THE QUOTATION PROCESS.  THAT GOES WITH THE TERRITORY WITH THIS TYPE OF PROJECT UNDER THESE CONDITIONS.  

Thank you,

Hoffman Blast II by
Circle R Industries, Inc.

Joseph H. Hoffman

