DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

 August 24, 2007
City Of Biloxi Building Code Plan Review

Biloxi Building Code Office

676 Dr. Martin Luther King Blvd.

Biloxi, MS. 

Attn: Michael Hornbeck

Ref: La Quinta Inn Suites

        Cedar Lake Road

        Biloxi, MS.

Dear Mr. Hornbeck

1) All firewalls shall extend tight to the underside of the deck except the third floor corridor ceiling. 

2) Previously we had submitted a change on the corner hold down brackets. Please see the enclosed letter. 

3) Originally we called out on the plans for I trusses, we have changed that to parallel chord trusses. And they are being installed per the manufacturing recommendations.

4) Hall Corridor shall be a 2x4 wood stud.

5) Box around penetrations through floors and fire caulk.    

Please call me with any questions or concerns you may have.

Thank you,

Emmett Dammon 

