DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

May 24, 2007

Jefferson Parish

Inspection and Code Enforcement

Office of the Director

RE: Jeff & Kate Brignac

       1401 Hackberry Ave

        Metairie, La. 70001

To Whom It May Concern:

The new flooring shall consist of 2x12’s @ 16” O.C. with ¾” Plywood decking glued and screwed. The floor loads are 30lbs. Sf.. This home did not have any storm damage & is found to be structurally sound. This home meets local bldg. codes. The existing foundation will support the new load that will be built on it. I take full responsibility for the contents of the plans.

Emmett Dammon 

Dammon Engineering

