May 22, 2007

Lanco  Construction, Inc.

5816 Plauche Ct.

Jefferson, La. 70123

Attn: Ron Blair

Ref: Addendum to strapping

All corners shall be strapped in each direction using Simpson straps #PHD2-SDS3 against double studs.

Thanks

Chuck Dammon 

Dammon Engineering

