DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

     January 11, 2008
     City Of Biloxi Building Code Plan Review

     Biloxi Building Code Office

     676 Dr. Martin Luther King Blvd.

     Biloxi, MS. 

     Attn: Michael Hornbeck

     Ref: La Quinta Inn Suites

            Cedar Lake Road

            Biloxi, MS.

     Dear Mr. Hornbeck

 

Under table 1004.1.2 for residential occupancy it is 200 gross floor areas in sq. ft. per occupant per floor. The total sq.ft. for whom each occupied space is 9888 sq. ft.  per floor by 200 is 49.44 people. Using table 1005.1 49.44 people divided by 2 cause there are two exists. = 24.72 people multiplied by 0.2 =  4.944" . So using these tables we comply on the stair width.

 

Please call me with any questions you may have.

     Thank you,

    Emmett Dammon

