DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

     April 15, 2008
     City Of Biloxi Building Code Plan Review

     Biloxi Building Code Office

     676 Dr. Martin Luther King Blvd.

     Biloxi, MS. 

     Attn: Michael Hornbeck

     Ref: La Quinta Inn Suites

            Cedar Lake Road

            Biloxi, MS.

     Dear Mr. Hornbeck

 

The south side elevator pit wall is a 2x6 stud wall and can support the load with the over hang. A 2x6 wall was used in that area for noise control only. The contractor shall be directed to seal the stud to the concrete wall. The second and third floor deflection was also noted. We designed a Fletch beam to be installed next to the original beam that the contractor had installed. The new beam was installed and jacked up to take out some of the deflection and a 4x4 steel column was added in the middle of it to support it for a total solid connection. 
 

Please call me with any questions you may have.

     Thank you,

    Emmett Dammon

