DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

     January 31, 2008
     City Of Biloxi Building Code Plan Review

     Biloxi Building Code Office

     676 Dr. Martin Luther King Blvd.

     Biloxi, MS. 

     Attn: Michael Hornbeck

     Ref: La Quinta Inn Suites

            Cedar Lake Road

            Biloxi, MS.

     Dear Mr. Hornbeck

The power vent for the water heaters and the fresh air vents installed in the doors are suitable for the safety of the equipment room. Also the power vent and vents installed in the exterior wall of the laundry room are suitable for this application.  

    Please call me with any questions or concerns you may have.

    Thank you,

    Emmett Dammon

