June 20, 2007

City Of Biloxi Building Code Plan Review

Biloxi Building Code Office

676 Dr. Martin Luther King Blvd.

Biloxi, MS. 

Attn: Michael Hornbeck

Ref: La Quinta Inn Suites

        Cedar Lake Road

        Biloxi, MS.

Dear Mr. Hornbeck

All exterior walls shall be rated using the design UL #U356. See the attached dwg.

All stud walls shall be constructed with wood studs.

Please call me with any questions or concerns you may have.

Thank you,

Chuck Dammon

