July 16, 2007

City Of Biloxi Building Code Plan Review

Biloxi Building Code Office

676 Dr. Martin Luther King Blvd.

Biloxi, MS. 

Attn: Michael Hornbeck

Ref: La Quinta Inn Suites

        Cedar Lake Road

        Biloxi, MS.

Dear Mr. Hornbeck

All exterior walls shall be rated using the design WP 8105. See the attached sketch.

All stud walls shall be constructed with wood studs.

Please call me with any questions or concerns you may have.

Thank you,

Chuck Dammon

