DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

    May 22, 2007

    Lanco  Construction, Inc.

    5816 Plauche Ct.

    Jefferson, La. 70123

    Attn: Ron Blair

    Ref: Addendum to strapping

    All foundation corners shall be strapped in each direction using Simpson straps #PHD2-SDS3 against double studs.   

    Thanks

    Chuck Dammon 

    Dammon Engineering

