DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

     September 11, 2007
     City Of Biloxi Building Code Plan Review

     Biloxi Building Code Office

     676 Dr. Martin Luther King Blvd.

     Biloxi, MS. 

     Attn: Michael Hornbeck

     Ref: La Quinta Inn Suites

            Cedar Lake Road

            Biloxi, MS.

     Dear Mr. Hornbeck

    3 rd floor stud walls shall be strapped to the top plate using H-8 straps. The elevator shaft was enlarged into the attic, which required the roof truss to be modified. The vent shafts for the bathrooms shall be enclosed using three layers of 5/8” type “X” from the top of the shaft. The original floor assembly was stated to be Design No. L531, now we have chosen to utilize Design No. L532 for the floor assembly.

    Please call me with any questions or concerns you may have.

    Thank you,

    Emmett Dammon
