To: Scott Delano

The area in the rear of the site where we are recapturing some of the land (943 sq.ft.) for the pool area will be retained in our parking lot. We have run the calculations for the whole site and it suggest that we can use an 8” orifice to retain all the water. We will retain only the sq.ft. that we are taking back. Please see the new calculation sheets.

