
SECTION 02743

BITUMINOUS CONCRETE PAVEMENT

PART 1 - GENERAL

1.01 SUMMARY

A. Provide hot-mixed asphalt paving over prepared subbase and roadway markings.

B. Comply with requirements of geotechnical investigation report for all paving construction.

C. Verify local requirements for fire access lane and approach with Authorities Having Jurisdiction.

1.02 SUBMITTALS

A. Product Data:  Submit manufacturer's product data and installation instructions for each material and product used. 

B. Test Reports:  Submit for approval test reports.

1.03 QUALITY ASSURANCE

A. Comply with governing codes and regulations.  Provide products of acceptable manufacturers which have been in satisfactory use in similar service for three years.  Use experienced installers.  Deliver, handle, and store materials in accordance with manufacturer's instructions.

B. Construction Tolerances:

1. Base Course Thickness:  Within 1/2 inch.

2. Surface Course Thickness:  Within 1/4 inch.

3. Base Course Surface Smoothness:  Within 1/4 inch.

4. Surface Course Surface Smoothness:  Within 3/16 inch. No ponding acceptable.

5. Crowned Surfaces:  Within 1/4 inch from template.

PART 2 - PRODUCTS

2.01 MATERIALS

A. Asphalt-Aggregate Mixture:  Plant-mixed, hot-laid asphalt-aggregate mixture, ASTM D 3515, complying with local DOT and DPW regulations.

B. Prime Coat:  Cut-back asphalt, ASTM D 2027.

C. Tack Coat:  Emulsified asphalt, ASTM D 977.

D. Lane and Parking Area Marking Paint, White Color:  Alkyd-resin type, ready-mixed, AASHTO M 248, Type I.  Disabled accessible markings shall be blue.

PART 3 - EXECUTION

3.01 INSTALLATION

A. Asphalt/Aggregate Mixture:  Comply with local DOT or DPW Standard Specifications for Highways and Bridges.  Class as required by loading and use and as described in the geotechnical investigation report.

B. Remove loose material from compacted subbase.  Proof roll and check for areas requiring additional compaction.  Report unsatisfactory conditions in writing.  Beginning of work means acceptance of subbase.

C. Apply prime coat to prepared subbase.  Apply tack coat to previous laid work and adjacent in-place concrete surfaces.

D. Construct curbs to dimensions indicated or if not indicated to standard shapes.  Provide tack coat between curb and pavement.

E. Begin rolling when pavement can withstand weight of roller.  Roll while still hot to obtain maximum density and to eliminate roller marks.

F. Provide 4" lane and striping paint in uniform, straight lines.  Provide wheelstops where indicated and securely dowel into pavement.  Protect work from traffic and damage.

G. Test in-place asphalt work for thickness and smoothness.  Remove and replace defective work and patch to eliminate evidence of patching

END OF SECTION


BITUMINOUS CONCRETE PAVEMENT


02743-1

