
SECTION 07840

FIRESTOPPING

PART 1 GENERAL

1.1 SUMMARY

A. Provide firestopping at locations required by code.

PART 2 PRODUCTS

2.1 MATERIALS

A. Through-Penetration Firestop Systems:  Subject to compliance with requirements, provide systems designed for use required, of one or more of the following types:

Endothermic, latex sealant and compounds.

1. Intumescent latex sealant, putty and wrap strips.

2. Job-mixed vinyl compound.

3. Mortar.

4. Pillows/bags.

5. Silicone foams and sealants.

B. Fire-Resistive Elastomeric Joint Sealants:

Multi-component, nonsag, urethane sealant.

END OF SECTION


FIRESTOPPING


07840-1

