
SECTION 09263

GYPSUM BOARD SHAFT WALL ASSEMBLIES

PART 1 GENERAL

1.1 SUMMARY

A. Provide gypsum board shaft-wall assemblies.

PART 2 PRODUCTS

2.1 MATERIALS

A. Manufacturers:   Domtar Gypsum, Georgia Pacific, National Gypsum Co., United States Gypsum Company, or approved equal.

B. Cavity Shaft Wall Assemblies:

Shaftwall Board Thickness:  Not less than 1 inch.

1. Studs:  I, C-H or double E studs, not less than 20 gauge (.0329 inch).

C. Gypsum Board Shaft Wall Materials:

Steel Framing:  ASTM C 645.

1. Gypsum Shaftwall Board:  ASTM C 442, Type X.

2. Gypsum Wallboard:  ASTM C 36, Type X.

D. Auxiliary Materials:

Cornerbeads, edge trim, and control joints.

1. Laminating adhesive.

2. Gypsum board screws, ASTM C 1002.

3. Concealed acoustical sealant.

4. Mineral fiber sound attenuation blankets.

END OF SECTION


GYPSUM BOARD SHAFT WALL ASSEMBLIES


09263-1

