
SECTION 09300

TILE

PART 1 GENERAL

1.1 SUMMARY

A. Interior Tile:

Wall tile over gypsum wallboard.

1. Wall tile over tile backer board at wet areas.

2. Floor tile over concrete slab.

PART 2 PRODUCTS

2.1 MATERIALS

A. Manufacturers of Tile:  Refer to Finish Selection Book from La Quinta.

B. Manufacturers of Setting Materials: American Olean, Bostick Construction Products, Laticrete, Mapei Corp or approved equal.

C. Provide the following:

Elastomeric crack isolation membrane, Laticrete 9235 or Nobleseal TS Crack Isolation Membrane or approved equal.

D. Tile Accessories:

Matching trim units.

E. Setting Materials:

Latex-Portland cement mortar.

F. Grout:

Laticrete Tri-Poly Fortified Latex Modified Grout - Series 1600, 1/8” wide grout joints   in all locations except Guest Room Bath (1/16” grout joints).

G. Setting Accessories:

Membrane waterproofing under tile, ANSI A 118.10.

1. Grout Cleaner:  Aqua mix Heavy Duty Tile & Grout Cleaner or equivalent.

2. Grout Sealer:  Aqua mix “Sealers Choice”.

H. Elastomeric Sealants:

One-part mildew-resistant silicone sealant for non-traffic areas.

2.2 SCHEDULE

A. Tile Schedule: Refer to Finish Selection Book from La Quinta and Prototype Drawings.

END OF SECTION


TILE


09300-1

