
SECTION 09651

RESILIENT BASE AND ACCESSORIES

PART 1 GENERAL

1.1 SUMMARY

A. Provide resilient wall base and accessories.

PART 2 PRODUCTS

2.1 MATERIALS

A. Manufacturers: Refer to Finish Selection Book from La Quinta.

B. Resilient Wall Base:

Rubber Wall Base: FS SS-W-40, Type II.

1. Thickness:  0.125 inches thick.

2. Height:  4 inches.

C. Installation Accessories:

Concrete Slab Primer:  Nonstaining type.

1. Trowelable Underlayments and Patching Compounds:  Latex-modified, Portland-cement-based formulation.

2. Adhesives:  Water-resistant type.

END OF SECTION


RESILIENT BASE AND ACCESSORIES


09651-1

