Textron Marine & Land Systems
Slidell Site

Addendum #1
Date:
December 16, 2004

To:
All Plan holders of Record:

Ladies and Gentlemen:

The following changes are made to the contract drawings and/or specifications:

1. The 1 ½” copper line and the ¾” copper line noted on the drawings shall be a 2” copper line.

2. All toilets shall be flush valve type.

3. All windows are construction grade low E.

4. Toilet partitions shall be Ameraproducts or equal.

5. Textron will remove any communication equipment from work area.

6. No ADA is required.

7. No HVAC is required for the warehouse bathrooms.

8. The new 3 hour fire wall for the office shall extend past the wood frame flooring and sit on top of the warehouse foundation. It will be an independent structure.

Acknowledge receipt of addendum(s) in your bid document.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

