                                                   Addendum #1

October 4, 2004

Mr. James Goldsmith

#3 Herron Street

New Orleans, LA  70124

Re:
Textron Slidell 

2585 Front Street

Slidell, La. 70458

Dear Mr. Goldsmith,
Drawing P-1 notes a ¾” water line to the new metal building toilets.  Please add water supply to the two new toilets in the existing metal building also.  Please see the attached revised sheet.

Also, please provide this addendum to all bidders on this project.
Sincerely,

Chuck Dammon

