August 11, 2004
  ITEMS TO DISCUSS WITH CHUCK

1) Contract agreement- With standardized drawing submitted by metal fabricator

a) Plan must locate access and egress for Advanced and for Textron and fencing

b) Plan will designate paved parking for Textron {75 employees @ peak = 15 spaces)


c) Plan will designate new driveway on r/r side of Main plant

d) Plan must locate plumbing tie in for Main plant (2 locations) and for office addition



1) Textron plant toilets

2) At front end of plant, specify, “remove wood siding and replace with metal R panels to match



3) Detail section for toilet room


e) Plan must designate electrical tie in



1) Relocate Advanced Electrical pole 



2) Specify underground electrical?

f) At addition: Plan must specify to remove existing metal siding in end wall of plant and replace with R panels to match existing


g) JOB SPECIFICATIONS 

h) Interior work for the account of Textron

2) To measure:


a) Advanced entrance width 34' is “ok”; balance all common area now Textron

b) Additional entrance roadway needed for Advanced main entrance: 32' x 52' 



c) Advanced rear paving for additional access to plant:



52' X 20' + 50' X 20' PLUS 80' X 30'


d) Total remaining for Textron PAVED PARKING 200' plant to loading dock + 80'



1) Paved parking for approx 26-28 cars by paving ONLY at new addition 


e) Entrance roadway on r/r side 25' x 108'

3) Textron plant toilets- number required (Dammon?)

a) For plumbing tie in

b) At front end of plant, specify, “remove wood siding and replace with metal R panels to match


c) Detail section for toilet room

4) Questions for Textron: IMPORTANT- FIRE WALL?

a) Parking


b) Plant toilet locations (1 or 2)


c) Fencing


d) New building addition Discuss



1) OH- none  



2) Gutters and down spouts- none



3) R panels to match building and Galvalum roofing



4) Location of toilet rooms (for plumbing tie in)



5) Location of 3/0 x 7/0 entrance doors 



6) Insulation 4" walls; 6" roof?




7) Windows? and where?



8) Interior- Dammon?


9) Demolition and TIMING (Chris Ducote- 985-960-0915)
DAMMON 08-11-04
