Good Morning Theresa, I contacted Cleco about a power outage at your location on Stone Road, Cleco informed me that for there man to be there on a Sat. to shut down the transformer requires that we pay the overtime required for that person. Cleco was to get back to me with those charges, as of last week I have not received that information. I will follow up with them today. One way to cover the wires temporarily is to manufacture a wood cover that can be fastened to the wall, it can have cut outs to allow the cover to slide over the wires near the connection point.  This is temporary because the installation of the generators will require that the wires currently installed to be removed, new feeders will be required to feed the automatic transfer switch.  An estimated cost $1680.00. This project requires a maintenance person from that facility be present during the project. All building utilities must be shut down prior to disconnecting the transformer. 
Please let me know if you would like for us to do this for you.

Kirt Dammon

Gulf Coast Electric

985-290-3888
