January 17, 2006

David and Sharon Cambus

63 Oak Tree Drive

Slidell, LA  70458

RE:
63 Oak Tree Drive

Dear Ms. Cambus,

Per our meeting this date, and your request, we have investigated the damage at the above residence.  Your specific concern was with damaged windows to the rear of the home.

We have concluded that the nine windows at the rear of the home, which are facing south east, were damaged during the high winds of Hurricane Katrina before the subsequent flooding.

The damage to these nine windows allowed for the entry of rainwater and flying debris, which damaged the interior contents in the den and kitchen area of the home before the ensuing flood.
If you have any questions, or require any further information, please feel free to call.

Sincerely,

Emmett G. (Pete) Dammon, P.E.
