STRUCTURAL INSPECTION

Date:
October 7, 2005

Type:
Primary residence

RE:
Post-Hurricane Katrina Structural Inspection

Structure:
Wood frame on block columns/wood siding/seal tab roof

Owner(s): 
Judy Holcomb

Property: 
106 Kendrick



Slidell, La 70458



504-578-1846

History:

Mrs. Holcomb contacted Dammon Engineering to perform a structural inspection on the referenced residence.  She was concerned about the foundation under the home after hurricane Katrina‘s surge of water.

Findings:

A visual inspection of the residence revealed signs of high water, approximately seven foot above the ground level.  The home moved approximately 6 to 8 inches in a twisting motion leaving the home on the piers on the south side and nearly off of the piers on the north side.  A number of piers under the home are cracked or leaning in the direction of motion.
A visual inspection of the residence interior revealed that the water level in the home was approximately four foot.  Floor joist are sagging on the west wall toward the center of the bathroom.
Analysis:

There is no way to determine the exact cause of the rotation of the home on its piers.  The fact is that it did rotate and the home is not livable in its current condition.  There was no visible structural damage to joist or rafters. 

Conclusion:

It is my professional opinion that this dwelling is not structurally sound.  The cost of repair may out way the cost of demolition and reconstruction.

When work is being accomplished to rebuild the structure, fastenings and nail patterns should meet the new International Code requirements for that work.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


